**THOMAS TOWNSHIP**

**STORM WATER DISCHARGE PERMIT APPLICATION**

|  |  |
| --- | --- |
| **PROJECT NAME**: |  |
| Property Tax Identification #: |  |
| Site Plan Review Date: |  |
| Date Applied: |  |
| Deposit Amount Submitted: |  |
| **NAME OF DEVELOPER/OWNER:**  | **ENGINEER/ARCHITECT:** |
| Contact Person: |  | Contact Person: |  |
| Street Address: |  | Street Address: |  |
| City, State, Zip: |  | City, State, Zip: |  |
| Telephone: |  | Telephone: |  |
| Email: |  | Email: |  |
| **PROJECT LOCATION:** |
| Street Address: |  |
| Name of Subdivision/Plat: |  |
| Drainage District: |  |
| **STORM WATER DESIGN INFORMATION (\*Calculation must be submitted for verification. Calculations must have clearly labeled headings, clearly labeled formulas, and clearly labeled units.)** |
| **Type of Development (Circle):** *COMMERCIAL SITE, INDUSTRIAL SITE, RESIDENTIAL PLATTED, RESIDENTIAL CONDOMINIUM, OTHER* |
| \*AREA OF DEVELOPMENT (acres): |  |
| \*AREA OF CONTRIBUTING DRAINAGE DISTRICT (acres): |  |
| \*AREA OF EXISTING IMPERVIOUS SURFACE (acres): |  |
| \*AREA OF PROPOSED IMPERVIOUS SURFACE (acres): |  |
| \*ALLOWABLE DISCHARGE RATE (Qa) (cfs): |  |
| \*TOTAL VOLUME OF STORAGE REQUIRED (cu. ft.) |  |
| \*TOTAL VOLUME OF STORAGE DESIGNED (cu. ft.) |  |
| 10 YR DESIGN STORM WATER DETENTION STORAGE ELEVATION: |  |
| EMERGENCY OVERFLOW/MAXIMUM STORAGE ELEVATION: |  |
| LOWEST FINISHED FLOOR ELEVATION: |  |
| OUTLET DRAIN SIZE AND DESIGN FLOW CAPACITY: |  |
| OUTLET DRAIN INVERT ELEVATION: |  |
| DESIGN IMPERVIOUS FACTOR (IMP): |  |
| \*10 YEAR DESIGN DISCHARGE (cfs): |  |
| \*HEAD DIFFERENTIAL THROUGH RESTRICTOR (ft.): |  |
| \*DIAMETER OF PROPOSED RESTRICTOR (in): |  |
| \*ACTUAL RESTRICTED DISCHARGE (cfs): |  |
| AUTHORIZED SIGNATURE DATE | PLEASE DRAINAGE PLAN CHECKLIST TO ASSURE ALL INFORMATION IS PRESENT FOR REVIEW |

**DRAINAGE PLAN CHECKLIST**

In order for the Owner, Developer, or Builder to be in compliance with Ordinance 97-G-25 he/she shall submit to the Community Development Department for review by the Township Engineer, three complete sets of the site drainage and grading plan, and one copy of the calculations for allowable discharge and on-site storage requirements, as prepared by a Registered Professional Engineer or Architect. A copy of the completed checklist will be sent with all submittals.

Each of the following items shall be included on the plan:

 Total acres of site.

 Total acres of watershed draining through the site outlet

 Drainage district lines including sub-district lines contributing to individual storm sewers and rear lot drainage systems.

 Location of site including dimension to nearest intersection road or section line.

 Existing ground elevations at maximum 50' centers, including shots on perimeter of site and 50' beyond or contour lines at 1 foot intervals extending 50 feet beyond the site limits.

 Elevations of ground, edge of pavement, and buildings within 50' of site.

 Top of curb, gutter, ditch line, and centerline of road elevation at maximum 50' intervals.

 Existing storm catch basins, manholes, sewers, and culverts showing rim and invert elevation(s).

 Proposed elevations showing parking lot grades and control and building elevations.

 Lawn/landscape areas.

 Location, size, length, slope, and type of proposed storm sewer and rear lot drains.

 Rim and invert elevation(s) of proposed manholes and catch basins, including rear lot drainage.

 Location of on-site storage showing contour line for the top of storage elevation.

 Provide sufficient dimensions, cross-sections, profiles, tie downs, etc. to determine the location and size of proposed storm sewers and detention areas. This information will be used for verifying proposed detention volume calculations in grassed and paved areas.

 Location of restrictor and proposed restrictor detail(s).

**\_\_\_\_\_\_\_\_** Location and elevation of the Emergency Overflow.

**DRAINAGE PLAN - CHECKLIST (Continued)**

 Each of the following items shall be included in the submitted calculations:

 Drainage District and impervious factor.

 Calculation of maximum allowable discharge (Obtain impervious factor from the Township Engineer).

 Calculation of on-site storage required.

 Calculation of storage volume provided.

 Calculation of restrictor size.

 Hydrologic & Hydraulic Calculations for sizing storm sewer systems, which will be maintained by a public agency.

 Hydrologic and Hydraulic calculations showing there will be no adverse impacts upstream or downstream of the proposed development.

Beyond Thomas Township requirements, the Developer must submit applications for permit with all agencies that regulate storm water within the area of development. These may include Michigan Department of Transportation, Michigan Department of Environment, Great Lakes, and Energy, Saginaw County Public Works Commissioner, or the Saginaw County Road Commission.

Revised December, 2014